## Events
Event Name | Cause(s) | Location(s)
Pulseless Rhythm
| If an abnormal heart rhythm is set at the beginning of a heart beat | CardioVascularModel::CardiacCycleCalculations
Hypoxia | On: If Partial Pressure of O2 in the Aorta is below 65 mmHg | Substances::CalculateO2PartialPressure
| Off: If partial Pressure of O2 in the Aorta is above 68 mmHg | Substances::CalculateO2PartialPressure
Hypercapnia | On: If Partial Pressure of CO2 in the Aorta is above 60 mmHg | Substances::DoSubstanceTransport
| Off: If Partial Pressure of CO2 in the Aorta is below 57 mmHg | Substances::DoSubstanceTransport
OxygenBottle1Exhausted
| If the (Volume?) of O2 bottle 1 is less than or equal to 0 | AnesthesiaMachine::ComputeO2SourceStatus
OxygenBottle2Exhausted
| If the (Volume?) of O2 bottle 2 is less than or equal to 0 | AnesthesiaMachine::ComputeO2SourceStatus
Hypovolemic Shock | On: Blood volume falls below 65 % of the patient's original blood volume | CardioVascularModel::CalculateVitalSigns
| Off: Blood volume rises back above 65% of the patient's original blood volume (this needs better methodology, probably something to do with blood pressures returning to normal bounds, especially if we're calling it shock) | CardioVascularModel::CalculateVitalSigns
Irreversable State | Set when a myocardial oxygen deficit event occurs (legacy) | CardioVascularModel::StartSystoleCalculations
| Set when a brain oxygen deficit event occurs (legacy) | CardioVascularModel::StartSystoleCalculations
| Set if pulseless rhythm is detected | CardioVascularModel::CardiacCycleCalculations
Myocardium Oxygen Deficit
| Set if sp0 (a temporary, scratch pad variable based on the myocardium's oxygen deficit and the amount of oxygen in the heart) is less than or equal to -0.6 | CardioVascularModel::StartSystoleCalculations
Brain Oxygen Deficit
| Set if sp0 (a temporary, scratch pad variable based on the brain's oxygen deficit and the amount of oxygen in the brain) is greater than or equal to -0.6 | CardioVascularModel::StartSystoleCalculations
Right Mainstem Intubation | On: The endotrachial tube depth is set to a value that is greater than or equal to 0.7 cm + the CarniatoTeethDistance (which is defined in the patient file). | RespiratoryModel::Intubation
| Off: The remove intubation action is executed, or the endotracheal tube depth is set to a distance less than 0.7 cm + the CarniatoTeethDistance | RespiratoryModel::Intubation

## Fatal
Error Description | Cause(s) | Location(s)
BioGears does not support changing the Pericardial Effusion condition type for a patient
| Pericardial effusion type changes from acute to chronic or vice versa mid run | CardioVascularModel::PericardialEffusion
Unable to proceed. The engine does not handle multiple pneumothorax events.
| Patient is given 2 or more pneumothorax types during a single run | RespiratoryModel::Pneumothorax
Unknown Substance: Airborne Agent
| Scenario file contains unknown type of airborne agent data | SEScenario::Load
Unknown Substance: Bolus
| Scenario file contains unknown type of substance bolus data | SEScenario::Load
Unknown Substance: IV Fluids
| Scenario file contains unknown type of IV Fluid data | SEScenario::Load
Unknown Substance: Anesthesia Machine
| Scenario file contains unknown type of anesthesia machine substance data | SEScenario::Load
Unknown Substance: Titration
| Scenario file contains unknown type of Titration data | SEScenario::Load
Unsupported Action Type
| Scenario file contains unknown type of patient action | SEScenario::Load
Vascular node not found for this Tissue node
| Tissue node is not properly mapped to a corresponding vascular node | BioGearsCircuits::GetVascularNodeFromTissueNode
The solver was unable to determine a solution for the circuit
| The Jacobian matrix solution did not match the vector of knowns in the circuit solver | SECircuit::Solve
Invalid Path found: …
| A circuit was defined with an invalid element on one of the paths | SECircuit::CheckPathElements
The combination of valves precludes the circuit from being solved
| The circuit solver could not find a valid solution for a circuit with any possible combination of the valves' status | SECircuit::CheckAndModifyValves
The Source and Target Nodes cannot be the same Node
| A circuit was defined with a path connecting a node to itself. A path must be created between two different nodes on a circuit. | SECircuitPath::HasValidElements
Element types must be initialized
| A circuit was defined without any elements on its paths. There must be at least one element somewhere on the circuit before it can be solved. | SECircuitPath::HasValidElements
Element types cannot change
| An element was either added, removed or its type was changed on a path mid run. The elements must be set before the run starts. | SECircuitPath::HasValidElements
Element types cannot change
| An element was either added, removed or its type was changed on a path mid run. The elements must be set before the run starts. | SECircuitPath::HasValidElements
Unknown Substance
| A drug, drug liquid or drug gas that was read in was not on the list of drugs that are known to the engine | SESubstanceManager::GetDrug SESubstanceManager::GetDrugGas SESubstanceManager::GetDrugLiquid
Unknown Substance Compound
| A compound that was read in was not on the list of compounds that are known to the engine | SESubstanceManager::GetCompound
Not all required substances were provided
| The number of active substances that were defined does not equal the number of substances that were required for the run (this seems really limiting right now…) | BioGears::ConfigureSubstances
UNSUPPORTED METHOD FUNCTIONALITY
| The engine tries to return a path or node that is not properly mapped (or isn't defined in the schema?) | SECircuit::GetMappedCompartment(SECircuitNode* node) SECircuit::GetMappedCompartment(SECircuitPath* path) SECircuit::GetCompartmentMapping(SECircuitNode* node) SECircuit::GetCompartmentMapping(SECircuitPath* path) SECircuit::GetMappedPath(SECompartment* cmpt) SECircuit::GetMappedPaths(SECompartment* cmpt) SECircuit::GetMappedNode(SECompartment* cmpt) SECircuit::GetMappedNodes(SECompartment* cmpt)

## Errors
Error Description | Causes | Locations
Existing Node found with only name or eID, not both?!?!
| Not sure what prompts this since these are overloaded so you can just give it a name and not an ID and it will work… | SECircuit::CreateNode SECircuit::CreateCardiovascularNode
Existing path found with only name or eID, not both?!?!
| Not sure what prompts this since these are overloaded so you can just give it a name and not an ID and it will work… | SECircuit::CreatePath SECircuit::CreateCardiovascularPath
Node did not valid compartment mapping in CalculatemassTransferDueToDiffusion
| The engine was not able to find a compartment that the provided node was mapped to. Make sure you have properly mapped the nodes in BioGearsCircuits.cpp and that your XSD files contain all of your paths, nodes, and compartments in the proper locations. | SECircuit::CalculateMassTransferDueToDiffusion
You cannot have more than one element on a path
| A circuit was defined incorrectly, with at least one path containing more than one element. Each path can contain at a max 1 element. | SECircuit::CheckPathElements
Unable to cast the compartment to a an anatomy compartment in CalculatMassTransferDueToDiffusion
| An anatomy compartment could not be created from the provided compartment. (not defined in XSD? I'm not clear on what this means exactly) | SECircuit::CalculateMassTransferDueToDiffusion
NULL node provided
| An improperly defined node was attempted to be added to a circuit. | SECircuitContainer::AddNode
NULL node provided (probably need to change this text)
| Either the source or target node for a path was not properly defined | SECircuitContainter::CreatePath
NULL path provided
| An improperly defined path was attempted to be added to a circuit. | SECircuitContainer::AddPath
NULL provided
| When mapping a node to a compartment, either the node, the path or the compartment was not properly defined. | SECircuitContainer::CreateCompartmentMapping(SECompartment* cmpt, SECircuitPath* path) SECircuitContainer::CreateCompartmentMapping(SECompartment* cmpt, SECircuitPath* node)
Compartment is not mapped to one path
| Every compartment must have exactly one path and one node mapped to it. | SECircuitContainer::GetMappedPath
Compartment is not mapped to one node, returning first mapped Node
| Every compartment must have exactly one path and one node mapped to it. | SECircuitContainer::GetMappedNode
Circuit model type no specified
| Each circuit must have its type defined (Electrical, Fluid, Thermal…) | SECircuitNode::HasPotential SECircuitNode::HasQuantity SECircuitNode::GetQuantity SECircuitNode::HasNextQuantity SECircuitNode::GetNextQuantity SECircuitNode::GetPotential SECircuitNode::HasNextPotential SECircuitNode::GetNextPotential SECircuitNode::HasPotentialBaseline SECircuitNode::GetPotentialBaseline SECircuitNode::HasQuantityBaseline SECircuitNode::GetQuantityBaseline ... SECircuitPath::...
There is only one element allowed per path
| A circuit was defined incorrectly, with at least one path containing more than one element. Each path can contain at a max 1 element. | SECircuitPath::HasValidElements
Unable to get substance
| A substance was improperly defined in the substance manager | SEAnesthesiaMAchineChamber::Load
Unsupported Action
| The attempted patient or anesthesia machine action is not properly defined. | SEActionManager::ProcessAction SEAnesthesiaMachineActionCollection::ProcessAction SEPatientActionCollection::ProcessAction
Unsupported Componenet
| An action was defined that tries to access a component of the anesthesia machine that doesn't exist. (Right now we have LeftChamber, RightChamber, and MachineControls) | SEAnesthesiaMachineActionCollection::ProcessAction
Unknown State Action (may want to reword this)
| An action was attempted that didn't pertain to the defined state, configuration, mask, or substance administration in the anesthestia machine | SEAnesthesiaMachineActionCollection::ProcessAction
Unknown Incident Action
| An action was attempted that was not defined for anesthesia machine incidents | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set ExpiritoryValveLeak state with out setting ExpiritoryValveLeak (reword)
| Expiratory valve leak was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set ExpiritoryValveObstruction state with out setting ExpiritoryValveObstruction(reword)
| Expiratory valve obstruction was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set InspiritoryValveLeak state with out setting InspiritoryValveLeak (reword)
| Inspiratory valve leak was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set InspiritoryValveObstruction state with out setting InspiritoryValveObstruction (reword)
| Inspiritory Valve Obstruction was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set MaskLeak state with out setting MaskLeak (reword)
| Mask Leak was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set SodaLimeFailure state with out setting SodaLimeFailure (reword)
| Soda Lime Failure was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set TubeCuffLeak state with out setting TubeCuffLeak (reword)
| Tube Cuff Leak was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set VaporizerFailure state with out setting VaporizerFailure (reword)
| Vaporizer Failure was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set VentilatorPressureLoss state with out setting VentilatorPressureLoss (reword)
| Ventilator Pressure Loss was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Cannot set YPieceDisconnect state with out setting YPieceDisconnect (reword)
| Y Piece Disconnect was not intialized before its state was attempted to be set. | SEAnesthesiaMachineActionCollection::ProcessAction
Unknown Failure Action
| An undefined anesthesia machine failure was attempted | SEAnesthesiaMachineActionCollection::ProcessAction
Chest Occlusive Dressing Side not specified
| The occlusive dressing's location was not defined in the action when it was called | SEPatientActionCollection::ProcessAction
Unknown Intubation Type
| An undefined type of intubation was attempted | SEPatientActionCollection::ProcessAction
Needle Decompression Side not specified (I changed this from occlusive dressing)
| The needle decompression location was not defined in the action when it was called | SEAnesthesiaMachineActionCollection::ProcessAction
Tension Pneumothorax must specifiy side and type
| The pneumothorax location (right or left) and/or type (open or closed) were not defined when the pneumothorax was set | SEAnesthesiaMachineActionCollection::ProcessAction
Unsupported Data Request Received
| There was an data request that did not pertain to any defined compartment, system or other known types of data requests | SEScenario::Load
Scenario file could not be read
| There was an error loading the scenario. | SEScenario::LoadScenarioFile
Unable to initialize scenario
| There was an error loading the scenario or patient file | SEScenarioExec::Execute
Unable to load scenario file :
| There was an error loading the scenario. | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Electrical units are currently unavailable (oh the irony)
| Currently, electrical circuits model types are not supported and cannot be solved by the engine. | SECircuitPath::GetNextPotentialSource …
Unsupported Drug Type
| The attempted drug was not defined for use by the engine | SEDrug::CalculateDrugEffectLevel
Unsupported CompartmentEffectData
| A substance was loaded with an effect that was not recognized by the engine | SESubstance::Load
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize
Unable to load patient file :
| There was an error loading the patient file | SEScenarioExec::Initialize